## Slide 1: Experiment 11
Six-pulse rectifier – common mode voltage and current – ground fault
Dr. Norbert Doerry and Dr. John V. Amy Jr.
http://doerry.org/norbert/MarineElectricalPowerSystems/index.htm
© 2024-2025 by Norbert Doerry and John Amy This work is licensed via: CC BY 4.0 (https://creativecommons.org/)

## Slide 2: Schematic
Cp = Cp DC =2.2 µF
R = 1200 Ω
RLD = 300 Ω
RNDC = 1200 Ω Rlamp = 450 Ω
N = 5.2
Common Mode Current Probe
Current Meter (all phases)
Voltage Meter (all phases)
Rlamp

## Slide 3: Experiment 11
Wye
Parasitic
DC neutral and -Load
Secondary line
DC Parasitic
Secondary - LG

## Slide 4: Simulation Model
20241027 experiment 11.asc
LTspice

## Slide 5: Steady State Voltages (DC side)
Six Pulse
Common
Mode
Voltage
(ref Ground)
DC line-to-ground voltage
DC line-to-line voltage

## Slide 6: Neutral to ground voltage (AC Side)

## Slide 7: Common mode voltage (DC neutral ref AC Neutral)

## Slide 8: CM Current through Parasitic Capacitances and lamp resistances
Common Mode Model

## Slide 9: CM currents during DC ground fault
Common Mode Model

## Slide 10: Common Mode Voltages

## Slide 11: Rectifier and load currents

## Slide 12: AC Line to Ground Voltages
Lamps will have equal brightness during DC ground fault

## Slide 13: Wrap Up