## Slide 1: Experiment 15
Open-Delta Transformer – Delta-Delta Transformer Comparison
Dr. Norbert Doerry and Dr. John V. Amy Jr.
http://doerry.org/norbert/MarineElectricalPowerSystems/index.htm
© 2025 by Norbert Doerry and John Amy This work is licensed via: CC BY 4.0 (https://creativecommons.org/)

## Slide 2: Schematic
Cp = 2.2 µF
R = 300 Ω
Common Mode Current Probe
Current Meter (all phases)
Voltage Meter (all phases)

## Slide 3: Simulation Model
20250207 experiment 15.asc
LTspice

## Slide 4: Line to Neutral Voltages identical
Line to Line Voltage are also identical

## Slide 5: Secondary Phase Currents identical

## Slide 6: Delta-Delta vs Open Delta single-phase Transformer current
60° phase shift
Current through single phase transformer is greater for open delta
Using same single phase transformers,
power rating of 3 phase open delta is of the 3 phase delta-delta transformer
Delta - Delta
Open Delta

## Slide 7: Current through transformer windings not identical
Delta - Delta
Open Delta

## Slide 8: Wrap Up