## Slide 1: Experiment 7
Delta-Wye Transformer – 4 wire - Ungrounded System Ground Fault
Dr. Norbert Doerry and Dr. John V. Amy Jr.
http://doerry.org/norbert/MarineElectricalPowerSystems/index.htm
© 2024 by Norbert Doerry and John Amy This work is licensed via: CC BY 4.0 (https://creativecommons.org/)

## Slide 2: Schematic
Cp = 2.2 µF
R = 1200 Ω
RL = 300 Ω
RLa = 300 Ω Rlamp = 450 Ω
N = 5.2
Common Mode Current Probe
Current Meter (all phases)
Voltage Meter (all phases)
Rlamp
(Neglecting losses)

## Slide 3: Experiment 7
Wye
Parasitic
Wye-Load
Secondary - LL
Secondary - LN
Primary line
Secondary - LG
Load line
Secondary line

## Slide 4: Simulation Model
20240908 experiment 7.asc
LTspice

## Slide 5: Line to Ground Voltages
Primary
Secondary
Line to ground insulation on secondary should be rated for line-to-line voltage
Ground Fault

## Slide 6: Line to Line Voltages
Primary Line to Line Voltage: Peak = 294 volts
Secondary Line to Line Voltage: Peak = 98 V volts
Primary Line to Line Voltages and Secondary Line to Line voltages not impacted by ground fault
Ground Fault

## Slide 7: Load Currents
Ground Fault

## Slide 8: Balanced load with ground fault does not result in Neutral Conductor current
Ground Fault

## Slide 9: Neutral to Ground Voltage
Ground Fault

## Slide 10: Ground Fault Currents
Ground Fault

## Slide 11: Wrap Up